ON LINE WET CHEMISTRY ANALYSIS OF FLUIDS USING CLASSIC DETERMINATION METHODE

Leopold Faschingleitner - Murtac Mess- und Regeltechnik

Analytische Chemie GmbH, Knittelfeld, Austria
office@murtac.at

Classic analytical methods as titration, potentiometry and colorometry in it´s implemtation in a full automated on line measurement device based in an IPC as controlling and data handling unit with special attention in the needs for a precise, repeatable and robust sampling.

The methods and their implementation are described in detail with application examples out of the various fields of running instruments. Different sampling methods with it´s advantages and disadvantages are described and explained using examples of real installations.

The data handling and possible output interfaces to the DCS system are also discussed.