Direct visualisation and analysis of nanoparticles using a new laser-based, single particle tracking system

Jeremy Warren, Andrew Malloy and Patrick Hole

NanoSight Ltd, Salisbury, UK  jeremy.warren@nanosight.co.uk

A single nanoparticle tracking analysis system is described which allows nanoscale particles to be individually visualised (but not imaged) in liquids and from which higher resolution particle size distribution profiles can be obtained compared to other light scattering techniques. Sample pre-treatment is minimal requiring only dilution with a suitable solvent to an acceptable concentration range (between 10^5 and 10^10 per ml depending on sample type). Accurate and reproducible analyses can be obtained from video of only a few seconds duration and the results allow particle number concentration to be recovered.

Given the close to real-time nature of the technique, particle-particle interactions are accessible as is information about sample aggregation and dissemination. All particle types can be measured and in any solvent type providing that the particles scatter sufficient light to be visible (i.e. are not indexed matched). The minimum detectable size measurable depends on particle refractive index but can be as low as 9-15nm for high refractive index materials such as colloidal silver.

The technique is robust and low cost representing an attractive alternative or complement to higher cost and more complex methods of nanoparticle analysis such as photon correlation spectroscopy or electron microscopy that are currently employed in a wide range of technical and scientific sectors.

Finally, the technique uniquely allows the user a simple and direct qualitative view of the sample under analysis (perhaps to validate data obtained from other techniques such as PCS) and from which an independent quantitative estimation of sample size, size distribution and concentration can be immediately obtained.