ACHIEVING HIGH SPEED HPLC PERFORMANCE AT MODERATE PRESSURES USING FUSED-CORE™ PARTICLE TECHNOLOGY

Hillel K. Brandes, William Campbell, Richard Henry, Wayne Way, Russel Gant, Paul Ross & David S. Bell

Supelco Inc., Division of Sigma-Aldrich Corporation, Bellefonte, Pennsylvania, USA

E-mail: hillel.brandes@sial.com

Recent advances in high-performance liquid chromatography (HPLC) columns have focused on various approaches to increase the speed of analyses. Monolithic columns, for example, were introduced for their potential for use at high mobile phase velocities due to decreased mass transfer effects over conventional fully porous particles. More recently, ultra-high performance chromatography on sub-2 µm particles have provided increased speed and efficiencies over conventional particles at the expense of high backpressures and, at times, column ruggedness. Fused Core™ Technology is the next significant breakthrough in column technology aimed at reducing analyses time through increased efficiencies.

The fused core technology breakthrough is based on a 0.5 µm outer shell of porous silica fused to a solid 1.7 µm core particle. The reduced intraparticle flow path results in significantly less diffusion within the confines of the analytical column. The result is similar column efficiencies to columns packed with sub-2 µm particles at about half the backpressure. Consequently, sub-2 µm-like efficiencies can be realized using conventional LC-MS instrumentation. In addition to the kinetic advantages of the Fused Core particle, the larger overall particle size and narrow particle size distribution lead to improved packing methods and hardware configurations.

In this report we introduce the Fused-Core Technology and discuss its advantages through fundamental kinetic discussions and high speed chromatographic examples. Improved speed, sensitivity, overall separation power will be highlighted.