INVESTIGATING OUT-OF-SPECIFICATION TEST RESULTS OF CHEMICAL COMPOSITION BASED ON METROLOGICAL CONCEPTS

Ilya Kuselman1, Cathy Burns2, Aleš Fajgelj3, Paolo de Zorzi4 & Francesca Pennecchi5

1The National Physical Laboratory of Israel (INPL), Jerusalem, Israel

ilya.kuselman@moital.gov.il

2Food and Drug Administration (FDA), Denver, CO, USA

cathy.burns@fda.hhs.gov

3International Atomic Energy Agency (IAEA), Vienna, Austria

A.Fajgelj@iaea.org

4National Environmental Protection Institute (former APAT), Rome, Italy

paolo.dezorzi@apat.it

5National Institute of Metrological Research (INRIM), Turin, Italy

f.pennecchi@inrim.it

By the current good manufacturing practice in pharmaceutical industry, out-of-specification (OOS) test results are results that fall outside the specifications or established acceptance criteria. Identifying OOS test results is described in FDA Guidance for Industry "Investigating OOS Test Results for Pharmaceutical Production" (2006). By analogy, measurement/test results obtained in other industries and such fields as environmental analysis, which do not comply with regulatory or specification limits, can be named also as OOS test results. When the compliance assessment is made on the basis of a measurement result accompanied by information on the uncertainty associated with the result, the rules developed in the EURACHEM/CITAC Guide "Use of Uncertainty Information in Compliance Assessment" (2007) are applicable.

After identification of the OOS test result it is important to determine its root causes: to avoid any repetition of the situation when appearance of a next OOS test result is possible or even inevitable. The FDA Guidance mentioned above formulates general rules for that including production review, additional laboratory testing, reporting testing results and concluding the investigation of the OOS test result. Thus, it establishes an organizational approach to the full-scale investigation and decisions which can be accepted at the different stages of this investigation.

Another approach in new IUPAC/CITAC project 2008-030-1 initiated by us, is based on metrological concepts and includes assessment of the measurement process used for the test, from sampling to chemical analysis of a test portion. The project results will be formulated as a guide. In particular, the following should be addressed in a future development of the guide:

- assessment of validation data of the measurement process including sampling, sample preparation and chemical analysis,

- use of the validation data for evaluation of the measurement uncertainty components,

- assessment of traceability chains important for measurement parameters and environmental conditions influencing the test results, etc.

More details of the approach will be discussed in the lecture.