FAST HYDROPHILIC INTERACTION LIQUID CHROMATOGRAPHIC SEPARATIONS ON BONDED ZWITTERIONIC STATIONARY PHASE

Patrik Appelblad1, Einar Pontén1, Tobias Jonsson1, Wen Jiang1 & Knut Irgum2

1Merck SeQuant AB, Box 7956, S-907 19 Umeå, Sweden
2Umeå University, Department of Chemistry, S-90187 Umeå, Sweden.

epn@mercksequant.com

Separation science is an art of obtaining adequate resolution of the desired compounds in minimum time, and with minimum effort in terms of sample preparation and data evaluation. In liquid chromatography, where selectivity is a main driving force for separation, the availability of different separation modes capable of operating at high flow rates is a way to make combined optimal use of selectivity, efficiency, and speed. The separation of polar and hydrophilic compounds is problematic in reversed phase liquid chromatography due to the poor retention. Hydrophilic Interaction Liquid Chromatography (HILIC) is a more straightforward separation mode to address this problem.

Desmet et al. [1,2] suggested the “impedance time” (tE = t0/N2 = E0 × η / ΔP) as an illustrative measure to describe separation speed and efficiency, with the benefit of allowing for a scaling of the plot to the maximum allowed pressure, ΔP, and a user-selected mobile phase viscosity, η. Based on this theory it is here shown that separations in HILIC mode are equally efficient as for reversed phase, providing a potential for very fast separations on short columns. This is facilitated by the low viscosity of the mobile phase compositions used, compared to typical reversed phase eluents, but also due to higher column permeability. To exemplify this, baseline separations of uracil and cytosine are shown in less than 4 seconds and of Tamiflu® and its main metabolite in less than 40 seconds, both under isocratic conditions. HILIC must therefore be considered having potential for high throughput purposes, and being an attractive candidate as the second separation dimension in 2D-HPLC.

References

- Desmet, G., Clicq, D., Gzil, P., Anal. Chem., 77 (2005) 4058-4070 and  LCGC Europe 18 (2005) 403-409.

- Desmet, G., Cabooter, D., Gzil, P., Verelst, H., Mangelings, D., Vander, Y., Heyden, Clicq, D., J. Chromatogr. A 1130 (2006) 158-166.