A NOVEL METHOD FOR DIRECT NONDESTRUCTIVE DIAGNOSIS OF

CARIES AFFECTED TOOTH SURFACES BY LASER MULTIPHOTON IONIZATION

Natalia Vinerot1, Yuheng Chen1, Vladimir V. Gridin1, Valery Bulatov1,

Liviu Feller2 and Israel Schechter1

1Schulich Department of Chemistry

Technion-Israel Institute of Technology, Haifa 32000, Israel

2Department of Periodontology and Oral Medicine

School of Dentistry, Medunsa Oral Health Centre

University of Limpopo, South-Africa

A new nondestructive analytical method for diagnosis of tooth caries is presented. The method is based on the Multiphoton Ionization (MPI) fast conductivity signals measured from tooth surfaces. The signals are acquired for a series of laser wavelengths, thus obtaining full MPI spectra. The results indicate a good correlation between the MPI results and the degree of severity of the caries, as diagnosed using traditional inspection. Moreover, the spectral information can be reduced (using least squares fitting) to a single parameter that provides an objective quantitative estimation of the caries severity. The MPI data can be obtained for tiny points on the dental surface and it is suggested that mapping is possible by scanning method.

References

1. V. Gridin, V. Bulatov, A. Korol, and I. Schechter, Anal. Chem. 69, 478-484, 1997.

2. J.H. Hahn, R. Zenobi and R.N. Zare, J. Am. Chem. Soc., 109, 2842-2843, 1987.

3. V. Bulatov, L. Feller, Y. Yasman, and I. Schechter, Instrumentation Science and Technology 36, 235-244, 2008.

4. L. Feller, Y. Yasman, V. Bulatov and I. Schechter, Instrumentation Science and Technology 32, 579–588, 2004.