High Sensitivity Quantitation with Spectral Confirmation using

a Novel LC-QQQ Approach

Dr Georges Tsoupras

MS Product Specialist, Agilent Technologies

Geneva – Switzerland

georges_tsoupras@agilent.com

A successful quantitative analysis should be accurate and reproducible.

It is typically performed on a sensitive and fast-scanning instrument, such as a QQQ using the MRM SCAN mode. ( two transitions per compound).

We will present here an approach to improve sensitivity, speed with confirmation

The new acquisition mode (tMRM ) uses MRM transition analysis for quantitation.

It also produces, a product ion spectra for library searching for compound’s confirmation.