The On-Line Combination of HPLC/Ion Mobility /ToF MS for Qualitative and Quantitative Protein Profiling in Complex Biological Systems

Mark McDowall1, Robert Tonge1, James Langridge1, and Scott Geromanos2

1 - Waters MS Technologies Centre, Manchester, UK

2 -  Waters Corporation, Milford, USA

Mark_McDowall@waters.com

Over the past decade the complexity of biological samples intended for qualitative and quantitative proteomics analysis may have been significantly under estimated. Consequently the peak capacity, dynamic range and duty cycle of typical LC-MS-MS systems used for such analyses may have been under specified.

There is a growing consensus within the proteomics community that, in the analysis of complex digests, exact mass analysis aids the unambiguous matching of tryptic peptide spectra to databanks of known protein structure. Where exact mass measurement of both precursor and product ions contribute significantly to minimizing false discovery in peptide/protein identification.

We will elucidate the challenge of sample complexity in proteomics by summarizing our findings from a 1D reversed phase HPLC separation (120 minute gradient) of a complex protein digest (E. coli) with Electrospray exact mass MS detection. The data show Ca 100,000 non-redundant precursor ions for identification and quantification. This complexity is further compounded by the fact that the detected ions are not uniformly distributed in time or m/z range. Typically 50% of all ions detected are observed in <25% of the total run time and >60% of all ions detected are observed in the m/z 400-800 range. Moreover 70% of all ions are two or more orders of magnitude less intense than the most abundant ions detected.

We describe a novel approach to address the analytical challenge inherent in such sample complexity embodying the on-line combination of three semi-orthogonal analytical techniques; HPLC, Dispersive Ion Mobility and Time-of-Flight MS. Additionally the advantage of collecting LC-IMS-MS data at high mass resolution and mass accuracy will be summarized. Our results demonstrate how LC-IMS-MS successfully increases the analytical system peak capacity by a factor of 10x and successfully enables more components of complex protein digests to be unambiguously identified and quantified per unit time.