Ionic Liquids in Separations and Mass Spectrometry

Daniel W. Armstrong

Robert A. Welch Professor

University of Texas at Arlington

Arlington, TX  76019

Room-temperature ionic liquids (RTILs), are a class of nonmolecular ionic solvents with low melting points.  The accepted definition of an RTIL is any salt that has a melting point lower than ambient temperature.  However, “ionic liquid” (IL) is often applied to any compound that has a melting point <100 °C.  Most common RTILs are composed of unsymmetrically substituted nitrogen-containing cations (e.g., imidazolium, pyrrolidinium, pyridinium) or phosphonium cations with inorganic anions (e.g.,           C1ˉ, PF6ˉ, BF4ˉ).  ILs are also interesting because of their other useful and intriguing physicochemical properties.  Wilkes et al. first reported ambient-temperature ILs based on the 1-alkyl-3-methylimidazolium cation in1982 (1).  Since then, many ILs containing a variety of cations and anions of different sizes have been synthesized to provide specific characteristics.

Over the past few years, research and applications of ILs have expanded tremendously.

The initial impetuses for this expansion were organic synthesis and the growth of green chemistry.  In this presentation an overview of the structure and properties of ILs and a description of their expanding use in various applications in separations, chromatography and mass spectrometry will be given (2-4).

A number of studies have appeared indicating that ILs have exceptional promise as stationary phases.  They have a dual nature selectivity in that they separate nonpolar molecules as would a nonpolar stationary phase and they separate polar molecules as would a polar stationary phase (3,5-8).  Many ILs have exceptional thermal stability.  They are being used increasingly in a variety of applications including 2-D GC, enantiomeric separations, the measurement of water in samples/solvents/materials and compact field GC units.

ILs have proven to be the best liquid Maldi MS matrix since we introduced them as such a few years ago (9-11).  The properties of ILs that make them effective will be discussed.  Further, the dications developed for high stability ILs have found another novel use in electrospray MS as a reagent for ultra sensitive anion analysis (12-14).  These will be discussed as time allows.

References

(1)  J.S. Wilkes, et al., Inorg. Chem. 21 (1982) 1263.

(2)  J.L. Anderson,  D.W. Armstrong, G.-T. Wei, Anal. Chem. 78 (2006) 2893.

(3)  D.W. Armstrong, L. He, Y.-S. Liu, Anal Chem. 71 (1999) 3873.

(4)  P. Sun, D.W. Armstrong, Anal. Chim. Acta 661 (2010).

(5)  J.L. Anderson, et al., J. Am. Chem. Soc. 124 (2002) 14, 247.

(6)  J.L. Anderson, et al., J. Am. Chem. Soc. 127 (2005) 593.

(7)  J.V. Seeley, et. al. Anal Bioanal. Chem. 390 (2008) 323.

(8)  Z.S. Breitbach, D.W. Armstrong, Anal. Bioanal. Chem. 390 (2008) 1605.

(9)  D.W. Armstrong, et al., Anal. Chem. 73 (2001) 3679.

(10)  J.A. Crank, D.W. Armstrong, J. Am. Soc. Mass Spectrom. 20 (2009) 1790.

(11)  A. Berthod, et al., Rapid Commun. Mass. Spectrom. 23 (2009) 3409.

(12)  R.J. Soukup-Hein, et al., Anal. Chem. 79 (2007) 7348.

(13)  R.J. Soukup-Hein, et al., Anal. Chem. 80 (2008) 2612.

(14)  Z.A. Breitbach, et al., Anal.Chem. 82 (2010) 9066.