Is accurate mass measurement the end of the (identification) story?

Lilach Yishai Aviram, Shai Dagan

Analytical Chemistry Department,

Israel Institute for Biological Research (IIBR),

Ness Ziona, Israel

Lilachy@iibr.gov.il

Screening for toxic xenobiotics in the body is of great importance in forensic and clinical toxicology.

Most of the compounds of interest (xenobiotics and their metabolites) might be present in the body only as residues and are hidden in heavily loaded matrices such as urine, blood etc. In order to identify these unknown xenobiotics, samples are usually analyzed by high resolution MS instruments such as LC-QTOF/Orbitrap, utilizing their accurate mass measurement capability together with isotopic peak ratios.

The identification of "real" or "total" unknowns in LC-MS/MS analysis is an extremely challenging task. No preliminary guiding information as to the nature of the unknown exists such as possible elements in the compound, sub-structures or analogies to known compounds (unlike in metabolomics studies), not an ms/ms library spectrum. Therefore, the identification process must be very general and should take into account various possible molecular formulas and structures.

We studied the capability and limitations of identification based on accurate mass measurements. For that purpose we used 15 model compounds having a broad range of chemical and physical properties, spiked in urine. We developed a sample preparation procedure and a LC-MS/MS (QTOF) analysis method, involving a broad LC- gradient, large mass range (including very low m/z), automated MS/MS routines and a peak digging strategy.

The effects of the molecular weight, mass defect, isotope ratio and their accuracy, as well as the potential elemental content on the number of proposed molecular formulas are discussed.

The multiplicity of actual isomers corresponding to each proposed molecular formula is also addressed, emphasizing the difficulties in real life, total unknown identification.