ANALYSIS OF AMINOGLYCOSIDE ANTIBIOTICS

Alexander Kovalerchik1 & Martin Eysberg2

1Lab Experts, Bat Yam, Israel
2Antec Leyden, The Netherlands

E-mail: alexander@lab-experts.com

Aminoglycosides are a broad-spectrum antibiotics used against gram-positive and gram-negative bacillary infections in both clinical and veterinary medicine. We developed a simple and sensitive analysis method for the determination of Neomycin, Spectinomycin, Tobramycin and Gentamicin in pharmaceutical preparations, using reversed-phase Liquid Chromatography (LC) and Pulsed Amperometric Detection (PAD) on a gold working electrode after post-column addition of sodium hydroxide. For the analysis of Kanamycin and Amikacin another system solution is available based on ion exchange chromatography with PAD.