Measurement and Optimization of Organic Chemical Reaction Yields by GC-MS with Supersonic Molecular Beams

Alexander Gordin, Alexander B. Fialkov, Youlia Hagooly, Shlomo Rozen, Bogdan Belgorodsky, Boaz Seemann, Hanit Marom, Michael Gozin and Aviv Amirav

School of Chemistry, Tel Aviv University Tel Aviv, Israel

amirav@tau.ac.il

A gas chromatograph mass spectrometer (GC-MS) with supersonic molecular beams (SMB) was used for semi-on-line monitoring of synthetic organic chemical reactions for their reaction yield optimization, mechanism elucidation and for obtaining information on the reaction products identity and purity. Our unique GC-MS named 5975-SMB Supersonic GC-MS (Aviv Analytical Ltd, Hod Hasharon Israel), is based on GC interface with the MS with supersonic molecular beams (SMB) and on sample molecules ionization during their axial flight through an open electron ionization ion source as vibrationally cold molecules. GC-MS with SMB significantly extends (doubles) the range of compounds amenable for analysis, practically always gives molecular ions, enables effective fast GC-MS analysis and provides elemental formulas via isotope abundance analysis software with unit resolution quadrupole MS. In addition, it uniquely provides uniform response to all compounds, a feature which is vital for the measurement of chemical reaction yields. Four different organic synthetic reactions were studied at the School of Chemistry Tel Aviv University and will be described and demonstrated. Based on the collected data, we were able to better understand how the reaction conditions should be optimized in order to maximize the yields and purity of target products. Consequently, we propose that GC-MS with SMB can serve as a novel tool for the optimization of chemical reactions in organic chemistry departments, drug synthesis and in the chemical industry.